## Integration
4 | 53 20 x diluted
Sample Name: |  | 53 20 x diluted |  |  | Injection Volume: |  | 200
Vial Number: |  | 71 |  |  | Channel: |  | ECD_1
Sample Type: |  | unknown |  |  | Wavelength: |  | n.a.
Control Program: |  | Simultaneous 13 minuten |  |  | Bandwidth: |  | n.a.
Quantif. Method: |  | Barbara 19 oktober 2019 |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2022-09-29 15:21 |  |  | Sample Weight: |  | 1
Run Time (min): |  | 13 |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Height | Area | Rel.Area | Amount | Type
| min |  | µS | µS*min | % | mg/l
1 | 2.2 | n.a. | 0.060304 | 0.0042663 | 0.063673 | n.a. | BMB
2 | 2.4 | Fluoride | 0.3005 | 0.05193 | 0.77504 | n.a. | BMB
3 | 3.1133 | Chloride | 60.0025 | 6.5364 | 97.5524 | 29.5003 | BMB
4 | 5.0533 | Bromide | 0.050062 | 0.011267 | 0.16815 | n.a. | BMB
5 | 8.08 | Sulfaat | 0.32314 | 0.096536 | 1.4408 | 0.62457 | BMB
Total: |  |  | 60.7365 | 6.7004 | 100 | 30.1249

## Calibration(Curr.Peak)
4 | 53 20 x diluted
Sample Name: |  | 53 20 x diluted |  |  |  | Injection Volume: |  | 200
Vial Number: |  | 71 |  |  |  | Channel: |  | ECD_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | n.a.
Control Program: |  | Simultaneous 13 minuten |  |  |  | Bandwidth: |  | n.a.
Quantif. Method: |  | Barbara 19 oktober 2019 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2022-09-29 15:21 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 13 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Cal.Type | Points | Corr.Coeff. | Offset | Slope | Curve
| min |  |  |  | %
1 | 2.2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | 2.4 | Fluoride | QOff | 0 | n.a. | 0 | 0 | 0
3 | 3.1133 | Chloride | QOff | 4 | 99.9885 | 0.015365 | 0.16621 | 0.001859
4 | 5.0533 | Bromide | QOff | 0 | n.a. | 0 | 0 | 0
5 | 8.08 | Sulfaat | QOff | 4 | 99.9864 | 0.015432 | 0.12966 | 0.00032104
Average: |  |  |  |  | 99.9874 | 0.0076993 | 0.073966 | 0.000545

## Calibration(Batch)
4 | 53 20 x diluted
Sample Name: |  | 53 20 x diluted |  |  |  | Injection Volume: |  | 200
Vial Number: |  | 71 |  |  |  | Channel: |  | ECD_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | n.a.
Control Program: |  | Simultaneous 13 minuten |  |  |  | Bandwidth: |  | n.a.
Quantif. Method: |  | Barbara 19 oktober 2019 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2022-09-29 15:21 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 13 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Cal.Type | Points | Corr.Coeff. | Offset | Slope | Curve
| min |  |  |  | %
1 | 2.2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | 2.4 | Fluoride | QOff | 0 | n.a. | 0 | 0 | 0
3 | 3.1133 | Chloride | QOff | 4 | 99.9885 | 0.015365 | 0.16621 | 0.001859
4 | 5.0533 | Bromide | QOff | 0 | n.a. | 0 | 0 | 0
5 | 8.08 | Sulfaat | QOff | 4 | 99.9864 | 0.015432 | 0.12966 | 0.00032104
Average: |  |  |  |  | 99.9874 | 0.0076993 | 0.073966 | 0.000545

## Peak Analysis
4 | 53 20 x diluted
Sample Name: |  | 53 20 x diluted |  |  |  | Injection Volume: |  | 200
Vial Number: |  | 71 |  |  |  | Channel: |  | ECD_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | n.a.
Control Program: |  | Simultaneous 13 minuten |  |  |  | Bandwidth: |  | n.a.
Quantif. Method: |  | Barbara 19 oktober 2019 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2022-09-29 15:21 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 13 |  |  |  | Sample Amount: |  | 1
No. | Ret.Zeit | Peakname | Height | Width | Type | Resol. | Asym. | Plates
| min |  | µS | min |  | (EP) | (EP) | (EP)
n.a. | n.a. |  | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. |  | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. |  | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. |  | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | Lithium | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | Natrium | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | Ammonium | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | Kalium | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | Magnesium | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | Calcium | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | 2.2 | n.a. | 0.060304 | 0.13 | BMB | 0.90306 | 0.69495 | 4484
2 | 2.4 | Fluoride | 0.3005 | 0.206 | BMB | 3.0188 | 2.023 | 943
3 | 3.1133 | Chloride | 60.0025 | 0.16233 | BMB | 8.4213 | 1.4048 | 5971
n.a. | n.a. | Nitriet | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 | 5.0533 | Bromide | 0.050062 | 0.285 | BMB | 8.062 | 1.3663 | 4516
n.a. | n.a. | Nitraat | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | Fosfaat | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | 8.08 | Sulfaat | 0.32314 | 0.44333 | BMB | n.a. | 1.3568 | 5112
Average: |  |  | 12.1473 | 0.24533 |  | 5.1013 | 1.3692 | 4205.2

## SST
4 | 53 20 x diluted
Sample Name: |  | 53 20 x diluted |  | Injection Volume: | 200
Vial Number: |  | 71 |  | Channel: | ECD_1
Sample Type: |  | unknown |  | Wavelength: | n.a.
Control Program: |  | Simultaneous 13 minuten |  | Bandwidth: | n.a.
Quantif. Method: |  | Barbara 19 oktober 2019 |  | Dilution Factor: | 1
Recording Time: |  | 2022-09-29 15:21 |  | Sample Weight: | 1
Run Time (min): |  | 13 |  | Sample Amount: | 1
System Suitability Test Results:
No. | Test Name |  | Sample Condition | Peak Condition | Test Result
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
|  | Number of executed single tests: | n.a. | Total test result: | n.a.

## Summary
Sample | Sample Name | Amount | Amount | Amount | Amount | Amount | Amount | Amount
No. |  | mg/l | mg/l | mg/l | mg/l | mg/l |  | mg/l
|  | Fluoride | Chloride | Bromide | Nitraat | Nitriet | Iodide | Sulfaat
|  | ECD_1 | ECD_1 | ECD_1 | ECD_1 | ECD_1 | ECD_1 | ECD_1
1 | Ultrapure | n.a. | -0.05244 | n.a. | n.a. | n.a. | n.a. | -0.0057914
2 | Ultrapure | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | 0.024181
3 | Ultrapure | n.a. | -0.015025 | n.a. | n.a. | n.a. | n.a. | 0.10463
4 | 53 20 x diluted | n.a. | 29.5003 | n.a. | n.a. | n.a. | n.a. | 0.62457
5 | 54 20 x diluted | n.a. | 28.6399 | n.a. | n.a. | n.a. | n.a. | 0.59616
6 | 55 20 x diluted | n.a. | 29.3803 | n.a. | n.a. | n.a. | n.a. | 0.50611
7 | Kationen 80 x | n.a. | 39.0799 | n.a. | n.a. | n.a. | n.a. | 0.025476
8 | Kationen 40 x | n.a. | 69.0915 | n.a. | n.a. | n.a. | n.a. | 0.024711
9 | Kationen 20 x | n.a. | 114.4298 | n.a. | n.a. | n.a. | n.a. | 0.084138
10 | Kationen 10 x | n.a. | 83.218 | n.a. | n.a. | n.a. | n.a. | 0.06535
11 | Anionen 40 x | n.a. | 0.66098 | n.a. | n.a. | n.a. | n.a. | 3.8388
12 | Anionen 20 x | n.a. | 1.4098 | n.a. | n.a. | n.a. | n.a. | 7.6947
13 | Anionen 10 x | n.a. | 2.9501 | n.a. | n.a. | n.a. | n.a. | 15.5518
14 | Anionen 1 x | n.a. | 30.2056 | n.a. | n.a. | n.a. | n.a. | 155.385
15 | Kationen 80 x | n.a. | 39.0311 | n.a. | n.a. | n.a. | n.a. | 0.055984
16 | Kationen 40 x | n.a. | 68.4626 | n.a. | n.a. | n.a. | n.a. | 0.081829
17 | Kationen 20 x | n.a. | 113.1849 | n.a. | n.a. | n.a. | n.a. | 0.074027
18 | Kationen 10 x | n.a. | 82.1331 | n.a. | n.a. | n.a. | n.a. | 0.18167
19 | Anionen 40 x | n.a. | 0.73285 | n.a. | n.a. | n.a. | n.a. | 3.7969
20 | Anionen 20 x | n.a. | 1.5179 | n.a. | n.a. | n.a. | n.a. | 7.6046
21 | Anionen 10 x | n.a. | 2.9822 | n.a. | n.a. | n.a. | n.a. | 15.1984
22 | Anionen 1 x | n.a. | 29.9 | n.a. | n.a. | n.a. | n.a. | 152
23 | Ultrapure | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Average: | n.a. | 36.4973 | n.a. | n.a.
| Rel.Std.Dev: | n.a. | 103.4% | n.a. | n.a.

## Purity (Curr.Peak)
4 | 53 20 x diluted
Sample Name: |  | 53 20 x diluted |  |  |  | Injection Volume: |  | 200
Vial Number: |  | 71 |  |  |  | Channel: |  | ECD_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | n.a.
Control Program: |  | Simultaneous 13 minuten |  |  |  | Bandwidth: |  | n.a.
Quantif. Method: |  | Barbara 19 oktober 2019 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2022-09-29 15:21 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 13 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Area | Height | Match | RSD Match | PPI | RSD PPI
| min |  | µS*min | µS |  | % | nm | %
1 | 2.2 | n.a. | 0.0042663 | 0.060304 | n.a. | n.a. | n.a. | n.a.
2 | 2.4 | Fluoride | 0.05193 | 0.3005 | n.a. | n.a. | n.a. | n.a.
3 | 3.1133 | Chloride | 6.5364 | 60.0025 | n.a. | n.a. | n.a. | n.a.
4 | 5.0533 | Bromide | 0.011267 | 0.050062 | n.a. | n.a. | n.a. | n.a.
5 | 8.08 | Sulfaat | 0.096536 | 0.32314 | n.a. | n.a. | n.a. | n.a.
Total |  |  | 6.7004 | 60.7365

## Purity (Batch)
4 | 53 20 x diluted
Sample Name: |  | 53 20 x diluted |  |  |  | Injection Volume: |  | 200
Vial Number: |  | 71 |  |  |  | Channel: |  | ECD_1
Sample Type: |  | unknown |  |  |  | Wavelength: |  | n.a.
Control Program: |  | Simultaneous 13 minuten |  |  |  | Bandwidth: |  | n.a.
Quantif. Method: |  | Barbara 19 oktober 2019 |  |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2022-09-29 15:21 |  |  |  | Sample Weight: |  | 1
Run Time (min): |  | 13 |  |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Area | Height | Match | RSD Match | PPI | RSD PPI
| min |  | µS*min | µS |  | % | nm | %
1 | 2.2 | n.a. | 0.0042663 | 0.060304 | n.a. | n.a. | n.a. | n.a.
2 | 2.4 | Fluoride | 0.05193 | 0.3005 | n.a. | n.a. | n.a. | n.a.
3 | 3.1133 | Chloride | 6.5364 | 60.0025 | n.a. | n.a. | n.a. | n.a.
4 | 5.0533 | Bromide | 0.011267 | 0.050062 | n.a. | n.a. | n.a. | n.a.
5 | 8.08 | Sulfaat | 0.096536 | 0.32314 | n.a. | n.a. | n.a. | n.a.
Total |  |  | 6.7004 | 60.7365

## Lib Search
4 | 53 20 x diluted
Sample Name: |  | 53 20 x diluted |  |  | Injection Volume: |  | 200
Vial Number: |  | 71 |  |  | Channel: |  | ECD_1
Sample Type: |  | unknown |  |  | Wavelength: |  | n.a.
Control Program: |  | Simultaneous 13 minuten |  |  | Bandwidth: |  | n.a.
Quantif. Method: |  | Barbara 19 oktober 2019 |  |  | Dilution Factor: |  | 1
Recording Time: |  | 2022-09-29 15:21 |  |  | Sample Weight: |  | 1
Run Time (min): |  | 13 |  |  | Sample Amount: |  | 1
No. | Ret.Time | Peak Name | Height | Spectrum Name |  | Lib.Name | Match
| min |  | µS | in Library |  |  | with Lib
1 | 2.2 | n.a. | 0.060304 | n.a. |  | n.a. | n.a.
2 | 2.4 | Fluoride | 0.3005 | n.a. |  | n.a. | n.a.
3 | 3.1133 | Chloride | 60.0025 | n.a. |  | n.a. | n.a.
4 | 5.0533 | Bromide | 0.050062 | n.a. |  | n.a. | n.a.
5 | 8.08 | Sulfaat | 0.32314 | n.a. |  | n.a. | n.a.
Total: |  |  | 60.7365 |  |  |  | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.
|  |  |  | Library: | n.a.
|  |  |  | Component: | n.a.
|  |  |  | Match Factor: | n.a.
|  |  |  | Ret.Time: | n.a.
|  |  |  | Ret.Index: | n.a.
|  |  |  | Origin: | n.a.
|  |  |  | Acq.Date: | n.a.
|  |  |  | Program: | n.a.
|  |  |  | Solvents: | n.a.
|  |  |  | Comment: | n.a.

## Audit Trail
4 | 53 20 x diluted |  |  | Audit Trail
Sample Name: |  | 53 20 x diluted | Injection Volume: |  | 200
Vial Number: |  | 71 | Channel: |  | ECD_1
Sample Type: |  | unknown | Wavelength: |  | n.a.
Control Program: |  | Simultaneous 13 minuten | Bandwidth: |  | n.a.
Quantif. Method: |  | Barbara 19 oktober 2019 | Dilution Factor: |  | 1
Recording Time: |  | 2022-09-29 15:21 | Sample Weight: |  | 1
Run Time (min): |  | 13 | Sample Amount: |  | 1
Day Time | Ret.Time | Command/Message
15:18:03 |  | Audit trail of sample SMP::\oude data\Ameya\29 september 2022\29 september 2022.SEQ\3708. Executed 2022/9/29 on timebase Anionen_Kationen (server PHYS9324).
15:18:03 |  | Start of sample 4 "53 20 x diluted", using program "Simultaneous 13 minuten".
15:18:03 |  | MeasuredFlowRate = 0.3 [ml/min].
15:18:03 | 0.000 | Sampler.AcquireExclusiveAccess
15:18:03 | 0.000 | Flush Volume = 1000
15:18:03 | 0.000 | Wait FlushState
15:19:41 | 0.000 | Wait finished
15:19:41 | 0.000 | NeedleHeight = 2
15:19:41 | 0.000 | CutSegmentVolume = 10
15:19:41 | 0.000 | SyringeSpeed = 2
15:19:41 | 0.000 | CycleTime = 0
15:19:41 | 0.000 | WaitForTemperature = False
15:19:41 | 0.000 | Pump_ECD_2.Pump = On
15:19:41 | 0.000 | Pump_ECD_2.MeasuredFlowRate = 1.00
15:19:41 | 0.000 | Pump_ECD_2.Pressure.LowerLimit = 200
15:19:41 | 0.000 | Pump_ECD_2.Pressure.UpperLimit = 3000
15:19:41 | 0.000 | Pump_ECD.Pump = On
15:19:41 | 0.000 | Pump_ECD.Pressure.LowerLimit = 200
15:19:41 | 0.000 | Pump_ECD.Pressure.UpperLimit = 3000
15:19:41 | 0.000 | {Pump_ECD} Log Pump_ECD.TotalConductivity: 22.595
15:19:41 | 0.000 | {Pump_ECD} Log Pump_ECD.Pressure.Value: 2100
15:19:41 | 0.000 | {Pump_ECD_2} Log Pump_ECD_2.TotalConductivity: 1.089
15:19:41 | 0.000 | {Pump_ECD_2} Log Pump_ECD_2.Pressure.Value: 2208
15:19:41 | 0.000 | Pump_InjectValve.State = LoadPosition
15:19:41 | 0.000 | Pump_InjectValve_2.State = LoadPosition
15:19:41 | 0.000 | Wait SampleReady
15:19:42 | 0.000 | Wait finished
15:19:42 | 0.000 | Pump_ECD_2.Autozero
15:19:42 | 0.000 | Pump_ECD.Autozero
15:19:42 | 0.000 | Load
15:19:42 | 0.000 | Waiting for load response on AS50LoadState.
15:20:48 | 0.000 | Got load response
15:20:48 | 0.000 | Wait CycleTimeState
15:20:48 | 0.000 | Wait finished
15:20:48 | 0.000 | Pump_InjectValve.InjectPosition
15:20:48 | 0.000 | Pump_InjectValve_2.InjectPosition
15:20:48 | 0.000 | Inject
15:20:48 | 0.000 | Injecting from vial position 71.
15:20:48 | 0.000 | Injection Volume is 200.0 µl.
15:20:48 | 0.000 | Wait InjectState
15:20:49 | 0.000 | Wait finished
15:20:49 | 0.000 | ECD_2.AcqOn
15:20:49 | 0.000 | ECD_1.AcqOn
15:24:24 | 3.588 | It is now safe to open the autosampler's door.
15:30:49 | 10.000 | Pump_InjectValve.State = LoadPosition
15:30:49 | 10.000 | Pump_InjectValve_2.State = LoadPosition
15:33:49 | 12.999 | Request to open the door has been terminated.
15:33:49 | 13.000 | ECD_2.AcqOff
15:33:49 | 13.000 | ECD_1.AcqOff
15:33:55 |  | End of sample "53 20 x diluted".

## Overlay Print
Overlay of Samples from Integration View

## Overlay UV Spectra Print
Overlay of Samples and Spectra from Integration View