## building_reflectance_sens
SensorGrid: typeB_bedroom_N [568 sensors] | 1.6735 | Amsterdam: building reflectance sensitvity analysis
SensorGrid: typeA_bedroom_NE [599 sensors] | 1.2509 | dynamic | [5 empty] | static |  |  |  |  | dynamic | [5 empty] | static
SensorGrid: typeB_bedroom_E [568 sensors] | 0.70686
SensorGrid: typeA_bedroom_SE [599 sensors] | 1.6863 | Annual irradiance per sensor | [5 empty] | DF average
SensorGrid: typeB_bedroom_S [568 sensors] | 2.0627
SensorGrid: typeA_bedroom_SW [599 sensors] | 2.2328 |  | orientation | residence | level GF | level 10 | level 23 | level GF | level 10 | level 23 |  |  | ground floor | [5 empty] | ground floor
SensorGrid: typeB_bedroom_W [568 sensors] | 1.9597 | realistic reflectance | N | B3 | 808507.0021 | 3257900 | 5989400 | 0.13462 | 0.98525 | 1.6525 |  |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9 |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9
SensorGrid: typeA_bedroom_NW [599 sensors] | 1.9878 |  | NE | C3 | 2177500 | 3673600 | 6182600 | 0.29786 | 0.75404 | 1.2497 |  | N | 759574.3458 | 1063900 | 1543900 | 2315000 | 3584900 | N | 0.13762 | 0.13641 | 0.1395 | 0.13434 | 0.13605
|  |  | E | C2 | 3191200 | 3750700 | 6147300 | 0.28439 | 0.3752 | 0.69911 |  | NE | 2080000 | 2610700 | 3377400 | 4478900 | 6159000 | NE | 0.29584 | 0.29588 | 0.29698 | 0.29436 | 0.30033
|  |  | SE | C1 | 6673500 | 12011000 | 17012000 | 0.51896 | 1.1492 | 1.6873 |  | E | 3125800 | 3582500 | 4273100 | 5251600 | 6707200 | E | 0.28743 | 0.28651 | 0.29366 | 0.29563 | 0.28588
|  |  | S | B1 | 3259300 | 13862000 | 19556000 | 0.20234 | 1.4433 | 2.0643 |  | SE | 6584700 | 7118700 | 7946300 | 9122600 | 10906000 | SE | 0.51702 | 0.51896 | 0.52031 | 0.5209 | 0.52233
|  |  | SW | A1 | 5374800 | 16098000 | 20032000 | 0.46192 | 1.6555 | 2.2418 |  | S | 3211200 | 3599600 | 4281100 | 5393300 | 7119900 | S | 0.20354 | 0.20326 | 0.20549 | 0.20498 | 0.20312
|  |  | W | A2 | 4797200 | 8918100 | 13076000 | 0.42685 | 1.0327 | 1.9486 |  | SW | 5308600 | 5894800 | 6800700 | 8159900 | 10214000 | SW | 0.46083 | 0.46133 | 0.46207 | 0.45875 | 0.46237
|  |  | NW | A3 | 2257400 | 5878700 | 11418000 | 0.18744 | 0.98379 | 1.9909 |  | W | 4721100 | 5339600 | 6172700 | 7360700 | 9066400 | W | 0.4234 | 0.42218 | 0.42745 | 0.42394 | 0.4346
|  | refl. 0.1 | N | B3 | 759574.3458 | 3084900 | 5669700 | 0.13762 | 0.98926 | 1.6563 |  | NW | 2204700 | 2611000 | 3255100 | 4308200 | 6003900 | NW | 0.19015 | 0.1869 | 0.1899 | 0.18929 | 0.18817
|  |  | NE | C3 | 2080000 | 3477200 | 5870300 | 0.29584 | 0.75137 | 1.2484
|  |  | E | C2 | 3125800 | 3619200 | 5909600 | 0.28743 | 0.37372 | 0.70437 |  |  | 10th floor | [5 empty] | 10th floor
|  |  | SE | C1 | 6584700 | 11903000 | 16828000 | 0.51702 | 1.1475 | 1.684 |  |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9 |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9
|  |  | S | B1 | 3211200 | 13802000 | 19469000 | 0.20354 | 1.4408 | 2.0651 |  | N | 3084900 | 3949700 | 5116400 | 6751000 | 9164500 | N | 0.98926 | 0.99108 | 0.99599 | 0.99608 | 0.99569
|  |  | SW | A1 | 5308600 | 15972000 | 19910000 | 0.46083 | 1.6467 | 2.2248 |  | NE | 3477200 | 4544000 | 6004400 | 8049500 | 11018000 | NE | 0.75137 | 0.75021 | 0.75355 | 0.74883 | 0.75383
|  |  | W | A2 | 4721100 | 8771600 | 12962000 | 0.4234 | 1.0241 | 1.9597 |  | E | 3619200 | 4581600 | 5946400 | 7910500 | 10810000 | E | 0.37372 | 0.36854 | 0.37958 | 0.37614 | 0.37191
|  |  | NW | A3 | 2204700 | 5717600 | 11163000 | 0.19015 | 0.98104 | 1.9958 |  | SE | 11903000 | 12805000 | 14142000 | 16103000 | 18963000 | SE | 1.1475 | 1.1422 | 1.1518 | 1.1471 | 1.1449
|  | refl. 0.2 | N | B3 | [7 empty] | S | 13802000 | 14395000 | 15413000 | 16987000 | 19378000 | S | 1.4408 | 1.438 | 1.4409 | 1.4402 | 1.4383
|  |  | NE | C3 | [7 empty] | SW | 15972000 | 16883000 | 18164000 | 19981000 | 22595000 | SW | 1.6467 | 1.6532 | 1.6604 | 1.6561 | 1.6588
|  |  | E | C2 | [7 empty] | W | 8771600 | 9866400 | 11329000 | 13243000 | 15919000 | W | 1.0241 | 1.0304 | 1.0307 | 1.0379 | 1.0353
|  |  | SE | C1 | [7 empty] | NW | 5717600 | 6755700 | 8241200 | 10414000 | 13648000 | NW | 0.98104 | 0.9841 | 0.9803 | 0.97547 | 0.98093
|  |  | S | B1
|  |  | SW | A1 | [8 empty] | 23rd floor | [5 empty] | 23rd floor
|  |  | W | A2 | [8 empty] | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9 |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9
|  |  | NW | A3 | [7 empty] | N | 5669700 | 6847600 | 8202900 | 9801100 | 11750000 | N | 1.6563 | 1.6607 | 1.6658 | 1.6612 | 1.6735
|  | refl. 0.3 | N | B3 | 1063900 | 3949700 | 6847600 | 0.13641 | 0.99108 | 1.6607 |  | NE | 5870300 | 7475600 | 9385600 | 11759000 | 14745000 | NE | 1.2484 | 1.2478 | 1.2519 | 1.2545 | 1.2509
|  |  | NE | C3 | 2610700 | 4544000 | 7475600 | 0.29588 | 0.75021 | 1.2478 |  | E | 5909600 | 7518800 | 9439600 | 11840000 | 14891000 | E | 0.70437 | 0.69997 | 0.70049 | 0.70537 | 0.70686
|  |  | E | C2 | 3582500 | 4581600 | 7518800 | 0.28651 | 0.36854 | 0.69997 |  | SE | 16828000 | 17991000 | 19332000 | 21007000 | 23055000 | SE | 1.684 | 1.6745 | 1.6833 | 1.6903 | 1.6863
|  |  | SE | C1 | 7118700 | 12805000 | 17991000 | 0.51896 | 1.1422 | 1.6745 |  | S | 19469000 | 20029000 | 20671000 | 21449000 | 22361000 | S | 2.0651 | 2.0491 | 2.0529 | 2.0635 | 2.0627
|  |  | S | B1 | 3599600 | 14395000 | 20029000 | 0.20326 | 1.438 | 2.0491 |  | SW | 19910000 | 20743000 | 21690000 | 22868000 | 24365000 | SW | 2.2248 | 2.2358 | 2.2396 | 2.2346 | 2.2328
|  |  | SW | A1 | 5894800 | 16883000 | 20743000 | 0.46133 | 1.6532 | 2.2358 |  | W | 12962000 | 13784000 | 14805000 | 16090000 | 17767000 | W | 1.9597 | 1.9513 | 1.953 | 1.9555 | 1.9597
|  |  | W | A2 | 5339600 | 9866400 | 13784000 | 0.42218 | 1.0304 | 1.9513 |  | NW | 11163000 | 12400000 | 13881000 | 15700000 | 18007000 | NW | 1.9958 | 1.9961 | 1.9885 | 1.9959 | 1.9878
|  |  | NW | A3 | 2611000 | 6755700 | 12400000 | 0.1869 | 0.9841 | 1.9961
|  | refl. 0.4 | N | B3 | [8 empty] | ground floor | [5 empty] | ground floor
|  |  | NE | C3 | [8 empty] | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
|  |  | E | C2 | [6 empty] | 568 | N | 239.3729 | 335.2783 | 486.546 | 729.5511 | 1129.7484 | N | 0.13762 | 0.13641 | 0.1395 | 0.13434 | 0.13605
|  |  | SE | C1 | [6 empty] | 599 | NE | 621.5693 | 780.1591 | 1009.2731 | 1338.4359 | 1840.5025 | NE | 0.29584 | 0.29588 | 0.29698 | 0.29436 | 0.30033
|  |  | S | B1 | [6 empty] | 568 | E | 985.0673 | 1128.9921 | 1346.6283 | 1654.9937 | 2113.7127 | E | 0.28743 | 0.28651 | 0.29366 | 0.29563 | 0.28588
|  |  | SW | A1 | [6 empty] | 599 | SE | 1967.715 | 2127.291 | 2374.6038 | 2726.1192 | 3259.0551 | SE | 0.51702 | 0.51896 | 0.52031 | 0.5209 | 0.52233
|  |  | W | A2 | [6 empty] | 568 | S | 1011.9803 | 1134.381 | 1349.1495 | 1699.6491 | 2243.7713 | S | 0.20354 | 0.20326 | 0.20549 | 0.20498 | 0.20312
|  |  | NW | A3 | [6 empty] | 599 | SW | 1586.3763 | 1761.5513 | 2032.2626 | 2438.4342 | 3052.2638 | SW | 0.46083 | 0.46133 | 0.46207 | 0.45875 | 0.46237
|  | refl. 0.5 | N | B3 | 1543900 | 5116400 | 8202900 | 0.1395 | 0.99599 | 1.6658 | 568 | W | 1487.8114 | 1682.7261 | 1945.2699 | 2319.6572 | 2857.193 | W | 0.4234 | 0.42218 | 0.42745 | 0.42394 | 0.4346
|  |  | NE | C3 | 3377400 | 6004400 | 9385600 | 0.29698 | 0.75355 | 1.2519 | 599 | NW | 658.8336 | 780.2487 | 972.726 | 1287.4254 | 1794.1538 | NW | 0.19015 | 0.1869 | 0.1899 | 0.18929 | 0.18817
|  |  | E | C2 | 4273100 | 5946400 | 9439600 | 0.29366 | 0.37958 | 0.70049 | [13 empty] | dynamic | static
|  |  | SE | C1 | 7946300 | 14142000 | 19332000 | 0.52031 | 1.1518 | 1.6833 |  |  | 10th floor | [5 empty] | 10th floor |  |  |  |  | gf | gf
|  |  | S | B1 | 4281100 | 15413000 | 20671000 | 0.20549 | 1.4409 | 2.0529 |  |  | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90% | 10 | 10
|  |  | SW | A1 | 6800700 | 18164000 | 21690000 | 0.46207 | 1.6604 | 2.2396 | 568 | N | 972.178 | 1244.7118 | 1612.3866 | 2127.5158 | 2888.1083 | N | 0.98926 | 0.99108 | 0.99599 | 0.99608 | 0.99569 | 23 | 23
|  |  | W | A2 | 6172700 | 11329000 | 14805000 | 0.42745 | 1.0307 | 1.953 | 599 | NE | 1039.0965 | 1357.8898 | 1794.3032 | 2405.4432 | 3292.5242 | NE | 0.75137 | 0.75021 | 0.75355 | 0.74883 | 0.75383
|  |  | NW | A3 | 3255100 | 8241200 | 13881000 | 0.1899 | 0.9803 | 1.9885 | 568 | E | 1140.5577 | 1443.8493 | 1873.9535 | 2492.9217 | 3406.6725 | E | 0.37372 | 0.36854 | 0.37958 | 0.37614 | 0.37191
|  | refl. 0.6 | N | B3 | [6 empty] | 599 | SE | 3556.99 | 3826.5359 | 4226.0735 | 4812.0818 | 5666.7396 | SE | 1.1475 | 1.1422 | 1.1518 | 1.1471 | 1.1449
|  |  | NE | C3 | [6 empty] | 568 | S | 4349.5739 | 4536.4525 | 4857.2658 | 5353.2975 | 6106.7993 | S | 1.4408 | 1.438 | 1.4409 | 1.4402 | 1.4383
|  |  | E | C2 | [6 empty] | 599 | SW | 4772.9349 | 5045.1703 | 5427.9733 | 5970.9499 | 6752.0952 | SW | 1.6467 | 1.6532 | 1.6604 | 1.6561 | 1.6588
|  |  | SE | C1 | [6 empty] | 568 | W | 2764.2894 | 3109.3056 | 3570.2306 | 4173.4102 | 5016.7271 | W | 1.0241 | 1.0304 | 1.0307 | 1.0379 | 1.0353
|  |  | S | B1 | [6 empty] | 599 | NW | 1708.5983 | 2018.8152 | 2462.7292 | 3112.0301 | 4078.4508 | NW | 0.98104 | 0.9841 | 0.9803 | 0.97547 | 0.98093
|  |  | SW | A1
|  |  | W | A2 | [8 empty] | 23rd floor | [5 empty] | 23rd floor
|  |  | NW | A3 | [8 empty] | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
|  | refl. 0.7 | N | B3 | 2315000 | 6751000 | 9801100 | 0.13434 | 0.99608 | 1.6612 | 568 | N | 1786.754 | 2157.9585 | 2585.0688 | 3088.7269 | 3702.9049 | N | 1.6563 | 1.6607 | 1.6658 | 1.6612 | 1.6735
|  |  | NE | C3 | 4478900 | 8049500 | 11759000 | 0.29436 | 0.74883 | 1.2545 | 599 | NE | 1754.2299 | 2233.9439 | 2804.7119 | 3513.9583 | 4406.2688 | NE | 1.2484 | 1.2478 | 1.2519 | 1.2545 | 1.2509
|  |  | E | C2 | 5251600 | 7910500 | 11840000 | 0.29563 | 0.37614 | 0.70537 | 568 | E | 1862.3563 | 2369.481 | 2974.8035 | 3731.2676 | 4692.7623 | E | 0.70437 | 0.69997 | 0.70049 | 0.70537 | 0.70686
|  |  | SE | C1 | 9122600 | 16103000 | 21007000 | 0.5209 | 1.1471 | 1.6903 | 599 | SE | 5028.7346 | 5376.2755 | 5777.0083 | 6277.5509 | 6889.5576 | SE | 1.684 | 1.6745 | 1.6833 | 1.6903 | 1.6863
|  |  | S | B1 | 5393300 | 16987000 | 21449000 | 0.20498 | 1.4402 | 2.0635 | 568 | S | 6135.4771 | 6311.956 | 6514.2764 | 6759.456 | 7046.8644 | S | 2.0651 | 2.0491 | 2.0529 | 2.0635 | 2.0627
|  |  | SW | A1 | 8159900 | 19981000 | 22868000 | 0.45875 | 1.6561 | 2.2346 | 599 | SW | 5949.7329 | 6198.6594 | 6481.6528 | 6833.6761 | 7281.0267 | SW | 2.2248 | 2.2358 | 2.2396 | 2.2346 | 2.2328
|  |  | W | A2 | 7360700 | 13243000 | 16090000 | 0.42394 | 1.0379 | 1.9555 | 568 | W | 4084.8556 | 4343.9014 | 4665.6602 | 5070.6162 | 5599.1074 | W | 1.9597 | 1.9513 | 1.953 | 1.9555 | 1.9597
|  |  | NW | A3 | 4308200 | 10414000 | 15700000 | 0.18929 | 0.97547 | 1.9959 | 599 | NW | 3335.8548 | 3705.5092 | 4148.0785 | 4691.6528 | 5381.0568 | NW | 1.9958 | 1.9961 | 1.9885 | 1.9959 | 1.9878
|  | refl. 0.8 | N | B3
|  |  | NE | C3 | [8 empty] | ground floor | [5 empty] | ground floor
|  |  | E | C2 | [8 empty] | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
|  |  | SE | C1 | [7 empty] | N | 100% | 140.1% | 203.3% | 304.8% | 472% | N | 100% | 99.12% | 101.4% | 97.62% | 98.86%
|  |  | S | B1 | [7 empty] | NE | 100% | 125.5% | 162.4% | 215.3% | 296.1% | NE | 100% | 100% | 100.4% | 99.5% | 101.5%
|  |  | SW | A1 | [7 empty] | E | 100% | 114.6% | 136.7% | 168% | 214.6% | E | 100% | 99.68% | 102.2% | 102.9% | 99.46%
|  |  | W | A2 | [7 empty] | SE | 100% | 108.1% | 120.7% | 138.5% | 165.6% | SE | 100% | 100.4% | 100.6% | 100.7% | 101%
|  |  | NW | A3 | [7 empty] | S | 100% | 112.1% | 133.3% | 168% | 221.7% | S | 100% | 99.86% | 101% | 100.7% | 99.79%
|  | refl. 0.9 | N | B3 | 3584900 | 9164500 | 11750000 | 0.13605 | 0.99569 | 1.6735 |  | SW | 100% | 111% | 128.1% | 153.7% | 192.4% | SW | 100% | 100.1% | 100.3% | 99.55% | 100.3%
|  |  | NE | C3 | 6159000 | 11018000 | 14745000 | 0.30033 | 0.75383 | 1.2509 |  | W | 100% | 113.1% | 130.7% | 155.9% | 192% | W | 100% | 99.71% | 101% | 100.1% | 102.6%
|  |  | E | C2 | 6707200 | 10810000 | 14891000 | 0.28588 | 0.37191 | 0.70686 |  | NW | 100% | 118.4% | 147.6% | 195.4% | 272.3% | NW | 100% | 98.29% | 99.87% | 99.54% | 98.96%
|  |  | SE | C1 | 10906000 | 18963000 | 23055000 | 0.52233 | 1.1449 | 1.6863
|  |  | S | B1 | 7119900 | 19378000 | 22361000 | 0.20312 | 1.4383 | 2.0627 |  |  | 10th floor | [5 empty] | 10th floor
|  |  | SW | A1 | 10214000 | 22595000 | 24365000 | 0.46237 | 1.6588 | 2.2328 |  |  | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
|  |  | W | A2 | 9066400 | 15919000 | 17767000 | 0.4346 | 1.0353 | 1.9597 |  | N | 100% | 128% | 165.9% | 218.8% | 297.1% | N | 100% | 100.2% | 100.7% | 100.7% | 100.6%
|  |  | NW | A3 | 6003900 | 13648000 | 18007000 | 0.18817 | 0.98093 | 1.9878 |  | NE | 100% | 130.7% | 172.7% | 231.5% | 316.9% | NE | 100% | 99.84% | 100.3% | 99.66% | 100.3%
[12 empty] | E | 100% | 126.6% | 164.3% | 218.6% | 298.7% | E | 100% | 98.61% | 101.6% | 100.6% | 99.52%
[12 empty] | SE | 100% | 107.6% | 118.8% | 135.3% | 159.3% | SE | 100% | 99.54% | 100.4% | 99.97% | 99.77%
[12 empty] | S | 100% | 104.3% | 111.7% | 123.1% | 140.4% | S | 100% | 99.81% | 100% | 99.96% | 99.83%
[12 empty] | SW | 100% | 105.7% | 113.7% | 125.1% | 141.5% | SW | 100% | 100.4% | 100.8% | 100.6% | 100.7%
[12 empty] | W | 100% | 112.5% | 129.2% | 151% | 181.5% | W | 100% | 100.6% | 100.6% | 101.3% | 101.1%
[12 empty] | NW | 100% | 118.2% | 144.1% | 182.1% | 238.7% | NW | 100% | 100.3% | 99.92% | 99.43% | 99.99%
[13 empty] | 23rd floor | [5 empty] | 23rd floor
[13 empty] | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
[12 empty] | N | 100% | 120.8% | 144.7% | 172.9% | 207.2% | N | 100% | 100.3% | 100.6% | 100.3% | 101%
[12 empty] | NE | 100% | 127.3% | 159.9% | 200.3% | 251.2% | NE | 100% | 99.96% | 100.3% | 100.5% | 100.2%
[12 empty] | E | 100% | 127.2% | 159.7% | 200.4% | 252% | E | 100% | 99.37% | 99.45% | 100.1% | 100.4%
[12 empty] | SE | 100% | 106.9% | 114.9% | 124.8% | 137% | SE | 100% | 99.44% | 99.96% | 100.4% | 100.1%
[12 empty] | S | 100% | 102.9% | 106.2% | 110.2% | 114.9% | S | 100% | 99.23% | 99.41% | 99.92% | 99.89% |  |  | 1
[12 empty] | SW | 100% | 104.2% | 108.9% | 114.9% | 122.4% | SW | 100% | 100.5% | 100.7% | 100.4% | 100.4%
[12 empty] | W | 100% | 106.3% | 114.2% | 124.1% | 137.1% | W | 100% | 99.57% | 99.66% | 99.79% | 100%
[12 empty] | NW | 100% | 111.1% | 124.3% | 140.6% | 161.3% | NW | 100% | 100% | 99.64% | 100% | 99.6%

## ground_reflectance_sens
SensorGrid: typeB_bedroom_N [568 sensors] | 1.6611 | Amsterdam: ground reflectance sensitvity analysis
SensorGrid: typeA_bedroom_NE [599 sensors] | 1.2462 | dynamic | [5 empty] | static |  |  |  |  | dynamic | [5 empty] | static
SensorGrid: typeB_bedroom_E [568 sensors] | 0.7015
SensorGrid: typeA_bedroom_SE [599 sensors] | 1.6794 | Annual irradiance per sensor | [5 empty] | DF average
SensorGrid: typeB_bedroom_S [568 sensors] | 2.0633
SensorGrid: typeA_bedroom_SW [599 sensors] | 2.2345 |  | orientation | residence | level GF | level 10 | level 23 | level GF | level 10 | level 23 |  |  | ground floor | [5 empty] | ground floor
SensorGrid: typeB_bedroom_W [568 sensors] | 1.9429 | realistic reflectance | N | B3 | 807841.7779 | 3260000 | 5984900 | 0.13632 | 0.99187 | 1.667 |  |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9 |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9
SensorGrid: typeA_bedroom_NW [599 sensors] | 1.9866 |  | NE | C3 | 2175000 | 3673800 | 6186800 | 0.29622 | 0.75259 | 1.2506 |  | N | 720203.4214 | 934886.5648 | 1149300 | 1374000 | 1605000 | N | 0.13398 | 0.13607 | 0.1413 | 0.14174 | 0.1528
|  |  | E | C2 | 3194000 | 3758300 | 6141500 | 0.29286 | 0.37395 | 0.70356 |  | NE | 1943200 | 2517900 | 3098700 | 3700400 | 4309200 | NE | 0.29436 | 0.2971 | 0.30189 | 0.30527 | 0.31391
|  |  | SE | C1 | 6666000 | 12025000 | 17013000 | 0.5198 | 1.1487 | 1.6808 |  | E | 2894800 | 3646300 | 4396100 | 5162900 | 5952200 | E | 0.29316 | 0.29853 | 0.30517 | 0.31193 | 0.31279
|  |  | S | B1 | 3259200 | 13862000 | 19548000 | 0.20209 | 1.4413 | 2.0631 |  | SE | 6219700 | 7357100 | 8496800 | 9676200 | 10866000 | SE | 0.51602 | 0.52478 | 0.52717 | 0.53424 | 0.53668
|  |  | SW | A1 | 5386300 | 16095000 | 20032000 | 0.46462 | 1.6574 | 2.2315 |  | S | 2948500 | 3728700 | 4527400 | 5325400 | 6160800 | S | 0.20188 | 0.20426 | 0.21418 | 0.22513 | 0.22856
|  |  | W | A2 | 4800500 | 8916800 | 13080000 | 0.42651 | 1.0279 | 1.9531 |  | SW | 5005000 | 5927800 | 6880800 | 7841600 | 8836100 | SW | 0.45684 | 0.46292 | 0.47145 | 0.4671 | 0.48226
|  |  | NW | A3 | 2255500 | 5875200 | 11421000 | 0.18843 | 0.97534 | 1.9983 |  | W | 4489400 | 5258300 | 6039100 | 6829200 | 7646000 | W | 0.42445 | 0.43144 | 0.44205 | 0.43993 | 0.45114
|  | refl. 0.1 | N | B3 | 720203.4214 | 3217100 | 5906200 | 0.13398 | 0.9947 | 1.6641 |  | NW | 2067400 | 2531400 | 3022200 | 3515100 | 4024600 | NW | 0.18739 | 0.18868 | 0.19122 | 0.19426 | 0.19227
|  |  | NE | C3 | 1943200 | 3539700 | 6091500 | 0.29436 | 0.75313 | 1.2469
|  |  | E | C2 | 2894800 | 3635800 | 6088400 | 0.29316 | 0.37251 | 0.70052 |  |  | 10th floor | [5 empty] | 10th floor
|  |  | SE | C1 | 6219700 | 11854000 | 16894000 | 0.51602 | 1.1489 | 1.6733 |  |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9 |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9
|  |  | S | B1 | 2948500 | 13801000 | 19457000 | 0.20188 | 1.4379 | 2.0506 |  | N | 3217100 | 3308200 | 3397600 | 3498900 | 3589400 | N | 0.9947 | 0.99868 | 0.99093 | 0.99077 | 0.99536
|  |  | SW | A1 | 5005000 | 16013000 | 19968000 | 0.45684 | 1.652 | 2.2386 |  | NE | 3539700 | 3823200 | 4097500 | 4372800 | 4651300 | NE | 0.75313 | 0.74686 | 0.75093 | 0.75454 | 0.75396
|  |  | W | A2 | 4489400 | 8839200 | 13051000 | 0.42445 | 1.0299 | 1.935 |  | E | 3635800 | 3932400 | 4226900 | 4515900 | 4827200 | E | 0.37251 | 0.37656 | 0.37985 | 0.37626 | 0.3742
|  |  | NW | A3 | 2067400 | 5853900 | 11364000 | 0.18739 | 0.97776 | 1.9878 |  | SE | 11854000 | 12309000 | 12799000 | 13264000 | 13756000 | SE | 1.1489 | 1.147 | 1.1452 | 1.1502 | 1.1468
|  | refl. 0.2 | N | B3 | [7 empty] | S | 13801000 | 13970000 | 14133000 | 14319000 | 14496000 | S | 1.4379 | 1.4353 | 1.4412 | 1.4439 | 1.452
|  |  | NE | C3 | [7 empty] | SW | 16013000 | 16229000 | 16422000 | 16635000 | 16850000 | SW | 1.652 | 1.6549 | 1.6483 | 1.6594 | 1.6575
|  |  | E | C2 | [7 empty] | W | 8839200 | 9018600 | 9192300 | 9372300 | 9564800 | W | 1.0299 | 1.0197 | 1.038 | 1.0301 | 1.0215
|  |  | SE | C1 | [7 empty] | NW | 5853900 | 5944100 | 6038900 | 6134400 | 6232600 | NW | 0.97776 | 0.98052 | 0.9738 | 0.98025 | 0.98321
|  |  | S | B1
|  |  | SW | A1 | [8 empty] | 23rd floor | [5 empty] | 23rd floor
|  |  | W | A2 | [8 empty] | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9 |  | low 0.1 | low 0.3 | medium 0.5 | medium 0.7 | high 0.9
|  |  | NW | A3 | [7 empty] | N | 5906200 | 6066600 | 6230400 | 6392100 | 6558400 | N | 1.6641 | 1.6646 | 1.6663 | 1.6611 | 1.6549
|  | refl. 0.3 | N | B3 | 934886.5648 | 3308200 | 6066600 | 0.13607 | 0.99868 | 1.6646 |  | NE | 6091500 | 6279700 | 6478700 | 6681200 | 6874200 | NE | 1.2469 | 1.248 | 1.2476 | 1.2462 | 1.2493
|  |  | NE | C3 | 2517900 | 3823200 | 6279700 | 0.2971 | 0.74686 | 1.248 |  | E | 6088400 | 6249200 | 6413100 | 6579400 | 6741200 | E | 0.70052 | 0.6993 | 0.70036 | 0.7015 | 0.6977
|  |  | E | C2 | 3646300 | 3932400 | 6249200 | 0.29853 | 0.37656 | 0.6993 |  | SE | 16894000 | 17273000 | 17678000 | 18062000 | 18455000 | SE | 1.6733 | 1.6814 | 1.6791 | 1.6794 | 1.6779
|  |  | SE | C1 | 7357100 | 12309000 | 17273000 | 0.52478 | 1.147 | 1.6814 |  | S | 19457000 | 19847000 | 20258000 | 20648000 | 21071000 | S | 2.0506 | 2.0491 | 2.0601 | 2.0633 | 2.0681
|  |  | S | B1 | 3728700 | 13970000 | 19847000 | 0.20426 | 1.4353 | 2.0491 |  | SW | 19968000 | 20263000 | 20564000 | 20882000 | 21217000 | SW | 2.2386 | 2.2391 | 2.2318 | 2.2345 | 2.2459
|  |  | SW | A1 | 5927800 | 16229000 | 20263000 | 0.46292 | 1.6549 | 2.2391 |  | W | 13051000 | 13158000 | 13284000 | 13402000 | 13525000 | W | 1.935 | 1.9566 | 1.9551 | 1.9429 | 1.9438
|  |  | W | A2 | 5258300 | 9018600 | 13158000 | 0.43144 | 1.0197 | 1.9566 |  | NW | 11364000 | 11503000 | 11647000 | 11774000 | 11902000 | NW | 1.9878 | 1.9963 | 1.9965 | 1.9866 | 1.9913
|  |  | NW | A3 | 2531400 | 5944100 | 11503000 | 0.18868 | 0.98052 | 1.9963
|  | refl. 0.4 | N | B3 | [8 empty] | ground floor | [5 empty] | ground floor
|  |  | NE | C3 | [8 empty] | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
|  |  | E | C2 | [6 empty] | 568 | N | 226.9655 | 294.6209 | 362.1914 | 433.0035 | 505.8011 | N | 0.13398 | 0.13607 | 0.1413 | 0.14174 | 0.1528
|  |  | SE | C1 | [6 empty] | 599 | NE | 580.6891 | 752.4275 | 925.9888 | 1105.7957 | 1287.7242 | NE | 0.29436 | 0.2971 | 0.30189 | 0.30527 | 0.31391
|  |  | S | B1 | [6 empty] | 568 | E | 912.2697 | 1149.0981 | 1385.3907 | 1627.0407 | 1875.7813 | E | 0.29316 | 0.29853 | 0.30517 | 0.31193 | 0.31279
|  |  | SW | A1 | [6 empty] | 599 | SE | 1858.6416 | 2198.5324 | 2539.1105 | 2891.5523 | 3247.1018 | SE | 0.51602 | 0.52478 | 0.52717 | 0.53424 | 0.53668
|  |  | W | A2 | [6 empty] | 568 | S | 929.1928 | 1175.0657 | 1426.7687 | 1678.2511 | 1941.5197 | S | 0.20188 | 0.20426 | 0.21418 | 0.22513 | 0.22856
|  |  | NW | A3 | [6 empty] | 599 | SW | 1495.6511 | 1771.4127 | 2056.199 | 2343.3162 | 2640.504 | SW | 0.45684 | 0.46292 | 0.47145 | 0.4671 | 0.48226
|  | refl. 0.5 | N | B3 | 1149300 | 3397600 | 6230400 | 0.1413 | 0.99093 | 1.6663 | 568 | W | 1414.7933 | 1657.1051 | 1903.1671 | 2152.1599 | 2409.5669 | W | 0.42445 | 0.43144 | 0.44205 | 0.43993 | 0.45114 | dynamic | static
|  |  | NE | C3 | 3098700 | 4097500 | 6478700 | 0.30189 | 0.75093 | 1.2476 | 599 | NW | 617.804 | 756.4618 | 903.1282 | 1050.4222 | 1202.6768 | NW | 0.18739 | 0.18868 | 0.19122 | 0.19426 | 0.19227 | gf | gf
|  |  | E | C2 | 4396100 | 4226900 | 6413100 | 0.30517 | 0.37985 | 0.70036 | [13 empty] | 10 | 10
|  |  | SE | C1 | 8496800 | 12799000 | 17678000 | 0.52717 | 1.1452 | 1.6791 |  |  | 10th floor | [5 empty] | 10th floor |  |  |  |  | 23 | 23
|  |  | S | B1 | 4527400 | 14133000 | 20258000 | 0.21418 | 1.4412 | 2.0601 |  |  | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
|  |  | SW | A1 | 6880800 | 16422000 | 20564000 | 0.47145 | 1.6483 | 2.2318 | 568 | N | 1013.8396 | 1042.5489 | 1070.7225 | 1102.6463 | 1131.1665 | N | 0.9947 | 0.99868 | 0.99093 | 0.99077 | 0.99536
|  |  | W | A2 | 6039100 | 9192300 | 13284000 | 0.44205 | 1.038 | 1.9551 | 599 | NE | 1057.7735 | 1142.4922 | 1224.4616 | 1306.7299 | 1389.9544 | NE | 0.75313 | 0.74686 | 0.75093 | 0.75454 | 0.75396
|  |  | NW | A3 | 3022200 | 6038900 | 11647000 | 0.19122 | 0.9738 | 1.9965 | 568 | E | 1145.7891 | 1239.2599 | 1332.0688 | 1423.1445 | 1521.2479 | E | 0.37251 | 0.37656 | 0.37985 | 0.37626 | 0.3742
|  | refl. 0.6 | N | B3 | [6 empty] | 599 | SE | 3542.3472 | 3678.3155 | 3824.7429 | 3963.6995 | 4110.7245 | SE | 1.1489 | 1.147 | 1.1452 | 1.1502 | 1.1468
|  |  | NE | C3 | [6 empty] | 568 | S | 4349.2588 | 4402.5176 | 4453.8856 | 4512.5018 | 4568.2817 | S | 1.4379 | 1.4353 | 1.4412 | 1.4439 | 1.452
|  |  | E | C2 | [6 empty] | 599 | SW | 4785.187 | 4849.7346 | 4907.409 | 4971.0601 | 5035.3088 | SW | 1.652 | 1.6549 | 1.6483 | 1.6594 | 1.6575
|  |  | SE | C1 | [6 empty] | 568 | W | 2785.593 | 2842.1292 | 2896.8692 | 2953.5945 | 3014.2592 | W | 1.0299 | 1.0197 | 1.038 | 1.0301 | 1.0215
|  |  | S | B1 | [6 empty] | 599 | NW | 1749.329 | 1776.2836 | 1804.6129 | 1833.1513 | 1862.4965 | NW | 0.97776 | 0.98052 | 0.9738 | 0.98025 | 0.98321
|  |  | SW | A1
|  |  | W | A2 | [8 empty] | 23rd floor | [5 empty] | 23rd floor
|  |  | NW | A3 | [8 empty] | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
|  | refl. 0.7 | N | B3 | 1374000 | 3498900 | 6392100 | 0.14174 | 0.99077 | 1.6611 | 568 | N | 1861.2849 | 1911.8335 | 1963.4535 | 2014.4118 | 2066.8197 | N | 1.6641 | 1.6646 | 1.6663 | 1.6611 | 1.6549
|  |  | NE | C3 | 3700400 | 4372800 | 6681200 | 0.30527 | 0.75454 | 1.2462 | 599 | NE | 1820.3314 | 1876.5715 | 1936.0389 | 1996.5523 | 2054.2267 | NE | 1.2469 | 1.248 | 1.2476 | 1.2462 | 1.2493
|  |  | E | C2 | 5162900 | 4515900 | 6579400 | 0.31193 | 0.37626 | 0.7015 | 568 | E | 1918.7035 | 1969.3782 | 2021.0298 | 2073.4377 | 2124.4275 | E | 0.70052 | 0.6993 | 0.70036 | 0.7015 | 0.6977
|  |  | SE | C1 | 9676200 | 13264000 | 18062000 | 0.53424 | 1.1502 | 1.6794 | 599 | SE | 5048.4574 | 5161.7145 | 5282.7412 | 5397.4925 | 5514.9332 | SE | 1.6733 | 1.6814 | 1.6791 | 1.6794 | 1.6779
|  |  | S | B1 | 5325400 | 14319000 | 20648000 | 0.22513 | 1.4439 | 2.0633 | 568 | S | 6131.6954 | 6254.6004 | 6384.1232 | 6507.0282 | 6640.3327 | S | 2.0506 | 2.0491 | 2.0601 | 2.0633 | 2.0681
|  |  | SW | A1 | 7841600 | 16635000 | 20882000 | 0.4671 | 1.6594 | 2.2345 | 599 | SW | 5967.0651 | 6055.2204 | 6145.1686 | 6240.197 | 6340.3055 | SW | 2.2386 | 2.2391 | 2.2318 | 2.2345 | 2.2459
|  |  | W | A2 | 6829200 | 9372300 | 13402000 | 0.43993 | 1.0301 | 1.9429 | 568 | W | 4112.9032 | 4146.6232 | 4186.331 | 4223.5176 | 4262.2799 | W | 1.935 | 1.9566 | 1.9551 | 1.9429 | 1.9438
|  |  | NW | A3 | 3515100 | 6134400 | 11774000 | 0.19426 | 0.98025 | 1.9866 | 599 | NW | 3395.9199 | 3437.4574 | 3480.4891 | 3518.4407 | 3556.6912 | NW | 1.9878 | 1.9963 | 1.9965 | 1.9866 | 1.9913
|  | refl. 0.8 | N | B3
|  |  | NE | C3 | [8 empty] | ground floor | [5 empty] | ground floor
|  |  | E | C2 | [8 empty] | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
|  |  | SE | C1 | [7 empty] | N | 100% | 129.8% | 159.6% | 190.8% | 222.9% | N | 100% | 101.6% | 105.5% | 105.8% | 114%
|  |  | S | B1 | [7 empty] | NE | 100% | 129.6% | 159.5% | 190.4% | 221.8% | NE | 100% | 100.9% | 102.6% | 103.7% | 106.6%
|  |  | SW | A1 | [7 empty] | E | 100% | 126% | 151.9% | 178.4% | 205.6% | E | 100% | 101.8% | 104.1% | 106.4% | 106.7%
|  |  | W | A2 | [7 empty] | SE | 100% | 118.3% | 136.6% | 155.6% | 174.7% | SE | 100% | 101.7% | 102.2% | 103.5% | 104%
|  |  | NW | A3 | [7 empty] | S | 100% | 126.5% | 153.5% | 180.6% | 208.9% | S | 100% | 101.2% | 106.1% | 111.5% | 113.2%
|  | refl. 0.9 | N | B3 | 1605000 | 3589400 | 6558400 | 0.1528 | 0.99536 | 1.6549 |  | SW | 100% | 118.4% | 137.5% | 156.7% | 176.5% | SW | 100% | 101.3% | 103.2% | 102.2% | 105.6%
|  |  | NE | C3 | 4309200 | 4651300 | 6874200 | 0.31391 | 0.75396 | 1.2493 |  | W | 100% | 117.1% | 134.5% | 152.1% | 170.3% | W | 100% | 101.6% | 104.1% | 103.6% | 106.3%
|  |  | E | C2 | 5952200 | 4827200 | 6741200 | 0.31279 | 0.3742 | 0.6977 |  | NW | 100% | 122.4% | 146.2% | 170% | 194.7% | NW | 100% | 100.7% | 102% | 103.7% | 102.6%
|  |  | SE | C1 | 10866000 | 13756000 | 18455000 | 0.53668 | 1.1468 | 1.6779
|  |  | S | B1 | 6160800 | 14496000 | 21071000 | 0.22856 | 1.452 | 2.0681 |  |  | 10th floor | [5 empty] | 10th floor
|  |  | SW | A1 | 8836100 | 16850000 | 21217000 | 0.48226 | 1.6575 | 2.2459 |  |  | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
|  |  | W | A2 | 7646000 | 9564800 | 13525000 | 0.45114 | 1.0215 | 1.9438 |  | N | 100% | 102.8% | 105.6% | 108.8% | 111.6% | N | 100% | 100.4% | 99.62% | 99.61% | 100.1%
|  |  | NW | A3 | 4024600 | 6232600 | 11902000 | 0.19227 | 0.98321 | 1.9913 |  | NE | 100% | 108% | 115.8% | 123.5% | 131.4% | NE | 100% | 99.17% | 99.71% | 100.2% | 100.1%
[12 empty] | E | 100% | 108.2% | 116.3% | 124.2% | 132.8% | E | 100% | 101.1% | 102% | 101% | 100.5%
[12 empty] | SE | 100% | 103.8% | 108% | 111.9% | 116% | SE | 100% | 99.84% | 99.68% | 100.1% | 99.82%
[12 empty] | S | 100% | 101.2% | 102.4% | 103.8% | 105% | S | 100% | 99.82% | 100.2% | 100.4% | 101%
[12 empty] | SW | 100% | 101.3% | 102.6% | 103.9% | 105.2% | SW | 100% | 100.2% | 99.77% | 100.4% | 100.3%
[12 empty] | W | 100% | 102% | 104% | 106% | 108.2% | W | 100% | 99.01% | 100.8% | 100% | 99.18%
[12 empty] | NW | 100% | 101.5% | 103.2% | 104.8% | 106.5% | NW | 100% | 100.3% | 99.59% | 100.3% | 100.6%
[13 empty] | 23rd floor | [5 empty] | 23rd floor
[13 empty] | 10% | 30% | 50% | 70% | 90% |  | 10% | 30% | 50% | 70% | 90%
[12 empty] | N | 100% | 102.7% | 105.5% | 108.2% | 111% | N | 100% | 100% | 100.1% | 99.82% | 99.45%
[12 empty] | NE | 100% | 103.1% | 106.4% | 109.7% | 112.8% | NE | 100% | 100.1% | 100.1% | 99.94% | 100.2%
[12 empty] | E | 100% | 102.6% | 105.3% | 108.1% | 110.7% | E | 100% | 99.83% | 99.98% | 100.1% | 99.6%
[12 empty] | SE | 100% | 102.2% | 104.6% | 106.9% | 109.2% | SE | 100% | 100.5% | 100.3% | 100.4% | 100.3%
[12 empty] | S | 100% | 102% | 104.1% | 106.1% | 108.3% | S | 100% | 99.93% | 100.5% | 100.6% | 100.9%
[12 empty] | SW | 100% | 101.5% | 103% | 104.6% | 106.3% | SW | 100% | 100% | 99.7% | 99.82% | 100.3% |  |  | 1
[12 empty] | W | 100% | 100.8% | 101.8% | 102.7% | 103.6% | W | 100% | 101.1% | 101% | 100.4% | 100.5%
[12 empty] | NW | 100% | 101.2% | 102.5% | 103.6% | 104.7% | NW | 100% | 100.4% | 100.4% | 99.94% | 100.2%

## ground_reflectance_test
N | 87.385
NE | 88.832 |  | refl 0.1 | refl 0.2 | 0.3 | 0.5 | 0.7 | 0.9 |  |  | refl 0.1 | refl 0.2 | 0.3 | 0.5 | 0.7 | 0.9
E | 84.2229 | NW | 5538900 | 6153400 | 6772900 | 8011400 | 9261000 | 10508000 |  | NW | 85.5421 | 85.4061 | 85.4102 | 86.0657 | 85.0144 | 87.385
SE | 84.7506 | NE | 6391000 | 7033000 | 7657700 | 8927100 | 10210000 | 11483000 |  | NE | 84.8825 | 86.4615 | 85.0124 | 85.2783 | 84.3548 | 88.832
S | 85.806 | E | 10077000 | 10765000 | 11444000 | 12817000 | 14186000 | 15577000 |  | E | 84.4847 | 85.0186 | 84.091 | 85.9358 | 86.0657 | 84.2229
SW | 85.6963 | SE | 14015000 | 14765000 | 15498000 | 16961000 | 18436000 | 19925000 |  | SE | 83.6952 | 82.9036 | 84.8825 | 83.8271 | 84.2208 | 84.7506
W | 87.9106 | S | 15679000 | 16446000 | 17215000 | 18736000 | 20256000 | 21805000 |  | S | 86.4635 | 85.4144 | 86.4635 | 86.4615 | 87.385 | 85.806
NW | 87.1077 | SW | 14702000 | 15438000 | 16169000 | 17619000 | 19094000 | 20568000 |  | SW | 85.7376 | 84.6326 | 85.5788 | 86.2901 | 85.8757 | 85.6963
|  | W | 11106000 | 11813000 | 12512000 | 13931000 | 15355000 | 16786000 |  | W | 83.9632 | 84.6207 | 86.0678 | 85.1443 | 86.0657 | 87.9106
|  | NW | 6583200 | 7213400 | 7853600 | 9127600 | 10404000 | 11683000 |  | NW | 85.2183 | 86.6749 | 85.6511 | 86.9699 | 87.2649 | 87.1077
|  |  | refl 0.1 | refl 0.2 | 0.3 | 0.5 | 0.7 | 0.9 | =(([@[cumulative annual irradiance (visual) (Wh/m2)]]*179)/506)/1000 |  | refl 0.1 | refl 0.2 | 0.3 | 0.5 | 0.7 | 0.9
|  | NW | 1947.8646 | 2163.9658 | 2381.8253 | 2817.3686 | 3256.8153 | 3695.3477 |  | NW | 85.5421 | 85.4061 | 85.4102 | 86.0657 | 85.0144 | 87.385
|  | NE | 2247.5226 | 2473.2947 | 2692.9829 | 3139.3927 | 3590.5501 | 4038.2259 |  | NE | 84.8825 | 86.4615 | 85.0124 | 85.2783 | 84.3548 | 88.832
|  | E | 3543.778 | 3785.7269 | 4024.5108 | 4507.3536 | 4988.7898 | 5477.9627 |  | E | 84.4847 | 85.0186 | 84.091 | 85.9358 | 86.0657 | 84.2229
|  | SE | 4928.6542 | 5192.4067 | 5450.1807 | 5964.6739 | 6483.387 | 7007.0236 |  | SE | 83.6952 | 82.9036 | 84.8825 | 83.8271 | 84.2208 | 84.7506
|  | S | 5513.833 | 5783.5639 | 6053.998 | 6588.888 | 7123.4263 | 7668.1631 |  | S | 86.4635 | 85.4144 | 86.4635 | 86.4615 | 87.385 | 85.806
|  | SW | 5170.2515 | 5429.0806 | 5686.1513 | 6196.0727 | 6714.7859 | 7233.1473 |  | SW | 85.7376 | 84.6326 | 85.5788 | 86.2901 | 85.8757 | 85.6963
|  | W | 3905.6464 | 4154.277 | 4400.0943 | 4899.1139 | 5399.8919 | 5903.1316 |  | W | 83.9632 | 84.6207 | 86.0678 | 85.1443 | 86.0657 | 87.9106
|  | NW | 2315.1136 | 2536.736 | 2761.875 | 3209.9026 | 3658.7741 | 4108.5599 |  | NW | 85.2183 | 86.6749 | 85.6511 | 86.9699 | 87.2649 | 87.1077
|  |  | refl 0.1 | refl 0.2 | 0.3 | 0.5 | 0.7 | 0.9 |  |  | refl 0.1 | refl 0.2 | 0.3 | 0.5 | 0.7 | 0.9
|  | N | 100% | 111.1% | 122.3% | 144.6% | 167.2% | 189.7% |  | N | 100% | 99.84% | 99.85% | 100.6% | 99.38% | 102.2%
|  | NE | 100% | 110% | 119.8% | 139.7% | 159.8% | 179.7% |  | NE | 100% | 101.9% | 100.2% | 100.5% | 99.38% | 104.7%
|  | E | 100% | 106.8% | 113.6% | 127.2% | 140.8% | 154.6% |  | E | 100% | 100.6% | 99.53% | 101.7% | 101.9% | 99.69%
|  | SE | 100% | 105.4% | 110.6% | 121% | 131.5% | 142.2% |  | SE | 100% | 99.05% | 101.4% | 100.2% | 100.6% | 101.3%
|  | S | 100% | 104.9% | 109.8% | 119.5% | 129.2% | 139.1% |  | S | 100% | 98.79% | 100% | 100% | 101.1% | 99.24%
|  | SW | 100% | 105% | 110% | 119.8% | 129.9% | 139.9% |  | SW | 100% | 98.71% | 99.81% | 100.6% | 100.2% | 99.95%
|  | W | 100% | 106.4% | 112.7% | 125.4% | 138.3% | 151.1% |  | W | 100% | 100.8% | 102.5% | 101.4% | 102.5% | 104.7%
|  | NW | 100% | 109.6% | 119.3% | 138.6% | 158% | 177.5% |  | NW | 100% | 101.7% | 100.5% | 102.1% | 102.4% | 102.2%

## glass_transmission_sens
Amsterdam: glass transmission sensitvity analysis
dynamic | [5 empty] | static | [15 empty] | 1
Annual irradiance per sensor | [5 empty] | DF average |  |  | dynamic | [5 empty] | static
[11 empty] | ground floor |  |  |  |  | ground floor
| orientation | residence | level GF | level 10 | level 23 | level GF | level 10 | level 23 | sensor count | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT | dynamic | static
triple (std) (Tvis 42.8) | N | B3 | 721011.891 | 2969600 | 5516300 | 0.13471 | 0.99255 | 1.6501 | 568 | N | 227.2203 | 291.7708 | 373.1898 | 411.4794 | N | 0.13471 | 0.1779 | 0.22776 | 0.26212 | gf | gf
| NE | C3 | 2018400 | 3444500 | 5838400 | 0.32474 | 0.81018 | 1.3276 | 599 | NE | 603.1613 | 763.5441 | 964.807 | 1060.9411 | NE | 0.32474 | 0.42186 | 0.53708 | 0.59723 | 10 | 10
| E | C2 | 2843600 | 3340800 | 5547000 | 0.29119 | 0.37281 | 0.69971 | 568 | E | 896.1345 | 1151.4931 | 1472.5901 | 1625.9062 | E | 0.29119 | 0.37924 | 0.48775 | 0.541 | 23 | 23
| SE | C1 | 6206300 | 11351000 | 16062000 | 0.56221 | 1.2214 | 1.766 | 599 | SE | 1854.6372 | 2354.881 | 2973.0436 | 3273.399 | SE | 0.56221 | 0.72602 | 0.92706 | 1.0231
| S | B1 | 2776100 | 12677000 | 18114000 | 0.20104 | 1.4425 | 2.0547 | 568 | S | 874.8625 | 1126.534 | 1443.4081 | 1598.3313 | S | 0.20104 | 0.2691 | 0.33857 | 0.3829
| SW | A1 | 5082800 | 15219000 | 19009000 | 0.49013 | 1.7364 | 2.3331 | 599 | SW | 1518.9002 | 1920.918 | 2419.1895 | 2660.0775 | SW | 0.49013 | 0.62497 | 0.79826 | 0.87443
| W | A2 | 4389900 | 8180800 | 12151000 | 0.42337 | 1.0263 | 1.9468 | 568 | W | 1383.4368 | 1763.9063 | 2234.1595 | 2459.2646 | W | 0.42337 | 0.53927 | 0.69241 | 0.77207
| NW | A3 | 2210700 | 5700600 | 10933000 | 0.20566 | 1.0499 | 2.0867 | 599 | NW | 660.6265 | 835.2935 | 1054.4265 | 1163.8586 | NW | 0.20566 | 0.26378 | 0.335 | 0.37595
triple (Tvis 53.2) | N | B3 | 925842.6652 | 3788700 | 6975000 | 0.1779 | 1.2766 | 2.1283 |  |  | 10th floor |  |  |  |  | 10th floor
| NE | C3 | 2555100 | 4366700 | 7348300 | 0.42186 | 1.0363 | 1.7077 | sensor count | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT
| E | C2 | 3653900 | 4301800 | 7086500 | 0.37924 | 0.48416 | 0.89978 | 568 | N | 935.8423 | 1193.9741 | 1511.5731 | 1664.2273 | N | 0.99255 | 1.2766 | 1.6231 | 1.7956
| SE | C1 | 7880300 | 14366000 | 20204000 | 0.72602 | 1.5677 | 2.2602 | 599 | NE | 1029.3247 | 1304.907 | 1647.6666 | 1811.8446 | NE | 0.81018 | 1.0363 | 1.3222 | 1.4692
| S | B1 | 3574700 | 16128000 | 22905000 | 0.2691 | 1.8492 | 2.6201 | 568 | E | 1052.8225 | 1355.6729 | 1729.619 | 1910.6044 | E | 0.37281 | 0.48416 | 0.62414 | 0.69623
| SW | A1 | 6428100 | 19155000 | 23858000 | 0.62497 | 2.2092 | 2.9657 | 599 | SE | 3392.0351 | 4293.0117 | 5401.3773 | 5939.2738 | SE | 1.2214 | 1.5677 | 1.9886 | 2.2118
| W | A2 | 5597200 | 10362000 | 15342000 | 0.53927 | 1.3047 | 2.4714 | 568 | S | 3995.0405 | 5082.5915 | 6408.0739 | 7060.7306 | S | 1.4425 | 1.8492 | 2.3272 | 2.5884
| NW | A3 | 2795200 | 7198800 | 13714000 | 0.26378 | 1.3416 | 2.6644 | 599 | SW | 4547.9149 | 5724.1152 | 7174.6427 | 7867.6327 | SW | 1.7364 | 2.2092 | 2.8077 | 3.1076
[9 empty] | 568 | W | 2578.1042 | 3265.4894 | 4115.1092 | 4523.8468 | W | 1.0263 | 1.3047 | 1.6738 | 1.8586
double, low SHGC (Tvis 65.5) | N | B3 | 1184200 | 4796500 | 8760600 | 0.22776 | 1.6231 | 2.6793 | 599 | NW | 1703.5182 | 2151.2274 | 2699.2841 | 2970.2346 | NW | 1.0499 | 1.3416 | 1.7179 | 1.8976
| NE | C3 | 3228600 | 5513700 | 9221700 | 0.53708 | 1.3222 | 2.1716
| E | C2 | 4672800 | 5488400 | 8975400 | 0.48775 | 0.62414 | 1.1493 |  |  | 23th floor |  |  |  |  | 23th floor
| SE | C1 | 9948900 | 18075000 | 25256000 | 0.92706 | 1.9886 | 2.8626 | sensor count | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT
| S | B1 | 4580200 | 20334000 | 28757000 | 0.33857 | 2.3272 | 3.3109 | 568 | N | 1738.4114 | 2198.1074 | 2760.8229 | 3034.3021 | N | 1.6501 | 2.1283 | 2.6793 | 2.9564
| SW | A1 | 8095500 | 24009000 | 29798000 | 0.79826 | 2.8077 | 3.7538 | 599 | NE | 1744.6972 | 2195.9027 | 2755.7334 | 3025.3689 | NE | 1.3276 | 1.7077 | 2.1716 | 2.3956
| W | A2 | 7089400 | 13058000 | 19253000 | 0.69241 | 1.6738 | 3.119 | 568 | E | 1748.0863 | 2233.2456 | 2828.5151 | 3119.1695 | E | 0.69971 | 0.89978 | 1.1493 | 1.2837
| NW | A3 | 3528500 | 9032800 | 17112000 | 0.335 | 1.7179 | 3.3722 | 599 | SE | 4799.8297 | 6037.5893 | 7547.2855 | 8285.1002 | SE | 1.766 | 2.2602 | 2.8626 | 3.145
[9 empty] | 568 | S | 5708.4613 | 7218.3011 | 9062.5053 | 9955.6144 | S | 2.0547 | 2.6201 | 3.3109 | 3.6314
Double, low U (Tvis 71.4) | N | B3 | 1305700 | 5280900 | 9628400 | 0.26212 | 1.7956 | 2.9564 | 599 | SW | 5680.4858 | 7129.5192 | 8904.5776 | 9758.3389 | SW | 2.3331 | 2.9657 | 3.7538 | 4.1373
| NE | C3 | 3550300 | 6063100 | 10124000 | 0.59723 | 1.4692 | 2.3956 | 568 | W | 3829.2764 | 4834.8908 | 6067.4067 | 6656.4049 | W | 1.9468 | 2.4714 | 3.119 | 3.4501
| E | C2 | 5159300 | 6062700 | 9897700 | 0.541 | 0.69623 | 1.2837 | 599 | NW | 3267.1235 | 4098.1736 | 5113.6027 | 5595.9165 | NW | 2.0867 | 2.6644 | 3.3722 | 3.7186
| SE | C1 | 10954000 | 19875000 | 27725000 | 1.0231 | 2.2118 | 3.145
| S | B1 | 5071800 | 22405000 | 31591000 | 0.3829 | 2.5884 | 3.6314 |  |  | ground floor |  |  |  |  | ground floor
| SW | A1 | 8901600 | 26328000 | 32655000 | 0.87443 | 3.1076 | 4.1373 | sensor count | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT
| W | A2 | 7803700 | 14355000 | 21122000 | 0.77207 | 1.8586 | 3.4501 | 568 | N | 100% | 128.4% | 164.2% | 181.1% | N | 100% | 132.1% | 169.1% | 194.6%
| NW | A3 | 3894700 | 9939500 | 18726000 | 0.37595 | 1.8976 | 3.7186 | 599 | NE | 100% | 126.6% | 160% | 175.9% | NE | 100% | 129.9% | 165.4% | 183.9%
[9 empty] | 568 | E | 100% | 128.5% | 164.3% | 181.4% | E | 100% | 130.2% | 167.5% | 185.8%
[9 empty] | 599 | SE | 100% | 127% | 160.3% | 176.5% | SE | 100% | 129.1% | 164.9% | 182%
[9 empty] | 568 | S | 100% | 128.8% | 165% | 182.7% | S | 100% | 133.9% | 168.4% | 190.5%
[9 empty] | 599 | SW | 100% | 126.5% | 159.3% | 175.1% | SW | 100% | 127.5% | 162.9% | 178.4%
[9 empty] | 568 | W | 100% | 127.5% | 161.5% | 177.8% | W | 100% | 127.4% | 163.5% | 182.4%
[9 empty] | 599 | NW | 100% | 126.4% | 159.6% | 176.2% | NW | 100% | 128.3% | 162.9% | 182.8%
[11 empty] | 10th floor |  |  |  |  | 10th floor
[9 empty] | sensor count | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT
[9 empty] | 568 | N | 100% | 127.6% | 161.5% | 177.8% | N | 100% | 128.6% | 163.5% | 180.9%
[9 empty] | 599 | NE | 100% | 126.8% | 160.1% | 176% | NE | 100% | 127.9% | 163.2% | 181.3%
[9 empty] | 568 | E | 100% | 128.8% | 164.3% | 181.5% | E | 100% | 129.9% | 167.4% | 186.8%
[9 empty] | 599 | SE | 100% | 126.6% | 159.2% | 175.1% | SE | 100% | 128.4% | 162.8% | 181.1%
[9 empty] | 568 | S | 100% | 127.2% | 160.4% | 176.7% | S | 100% | 128.2% | 161.3% | 179.4%
[9 empty] | 599 | SW | 100% | 125.9% | 157.8% | 173% | SW | 100% | 127.2% | 161.7% | 179%
[9 empty] | 568 | W | 100% | 126.7% | 159.6% | 175.5% | W | 100% | 127.1% | 163.1% | 181.1%
[9 empty] | 599 | NW | 100% | 126.3% | 158.5% | 174.4% | NW | 100% | 127.8% | 163.6% | 180.7%
[11 empty] | 23th floor |  |  |  |  | 23th floor
[9 empty] | sensor count | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT | orientation | triple (std) | triple 2 | double, low SHGC | Double, low U, high LT
[9 empty] | 568 | N | 100% | 126.4% | 158.8% | 174.5% | N | 100% | 129% | 162.4% | 179.2%
[9 empty] | 599 | NE | 100% | 125.9% | 157.9% | 173.4% | NE | 100% | 128.6% | 163.6% | 180.4%
[9 empty] | 568 | E | 100% | 127.8% | 161.8% | 178.4% | E | 100% | 128.6% | 164.3% | 183.5%
[9 empty] | 599 | SE | 100% | 125.8% | 157.2% | 172.6% | SE | 100% | 128% | 162.1% | 178.1%
[9 empty] | 568 | S | 100% | 126.4% | 158.8% | 174.4% | S | 100% | 127.5% | 161.1% | 176.7%
[9 empty] | 599 | SW | 100% | 125.5% | 156.8% | 171.8% | SW | 100% | 127.1% | 160.9% | 177.3%
[9 empty] | 568 | W | 100% | 126.3% | 158.4% | 173.8% | W | 100% | 126.9% | 160.2% | 177.2%
[9 empty] | 599 | NW | 100% | 125.4% | 156.5% | 171.3% | NW | 100% | 127.7% | 161.6% | 178.2%

## interior_reflectance_sens
SensorGrid: typeB_bedroom_N [568 sensors] | 0.1425 | Amsterdam: interior reflectance sensitvity analysis
SensorGrid: typeA_bedroom_NE [599 sensors] | 0.33603 | dynamic | [5 empty] | static
SensorGrid: typeB_bedroom_E [568 sensors] | 0.31234
SensorGrid: typeA_bedroom_SE [599 sensors] | 0.58715 | Annual irradiance per sensor | [5 empty] | DF average |  |  | dynamic | [5 empty] | static
SensorGrid: typeB_bedroom_S [568 sensors] | 0.21715 | [11 empty] | ground floor |  |  |  |  | ground floor | [5 empty] | 123
SensorGrid: typeA_bedroom_SW [599 sensors] | 0.5018 |  | orientation | residence | level GF | level 10 | level 23 | level GF | level 10 | level 23 | sensor count | orientation | EN 17037 low | realistic | EN 17037 high |  | orientation | EN 17037 low | realistic | EN 17037 high
SensorGrid: typeB_bedroom_W [568 sensors] | 0.4385 | EN 17037 lower bound | N | B3 | 534266.9945 | 2375300 | 4240800 | 0.12416 | 0.91175 | 1.4812 | 568 | N | 168.3694 | 227.4272 | 280.8334 | 0 | N | 0.12416 | 0.13733 | 0.1425 | 0
SensorGrid: typeA_bedroom_NW [599 sensors] | 0.20889 |  | NE | C3 | 1531500 | 2717600 | 4569100 | 0.30855 | 0.77097 | 1.2418 | 599 | NE | 457.6603 | 602.7429 | 734.5574 | 0 | NE | 0.30855 | 0.32349 | 0.33603 | 0
|  |  | E | C2 | 2127600 | 2530000 | 4261100 | 0.26594 | 0.34394 | 0.63016 | 568 | E | 670.4937 | 895.7248 | 1098.707 | 0 | E | 0.26594 | 0.28766 | 0.31234 | 0
|  |  | SE | C1 | 4903700 | 9264000 | 13026000 | 0.53747 | 1.1497 | 1.6194 | 599 | SE | 1465.3795 | 1853.3821 | 2197.2175 | 0 | SE | 0.53747 | 0.56294 | 0.58715 | 0
|  |  | S | B1 | 2040900 | 10208000 | 14425000 | 0.18623 | 1.3021 | 1.8079 | 568 | S | 643.171 | 875.2722 | 1076.8363 | 0 | S | 0.18623 | 0.20144 | 0.21715 | 0
| ceiling 0.7 |  | SW | A1 | 4099000 | 12532000 | 15485000 | 0.46925 | 1.6143 | 2.1268 | 599 | SW | 1224.9098 | 1520.7529 | 1762.6569 | 0 | SW | 0.46925 | 0.4878 | 0.5018 | 0
| wall 0.5 |  | W | A2 | 3496400 | 6483400 | 9668200 | 0.39087 | 0.92951 | 1.7273 | 568 | W | 1101.8585 | 1383.4053 | 1612.1975 | 0 | W | 0.39087 | 0.42193 | 0.4385 | 0
| floor 0.2 |  | NW | A3 | 1733400 | 4661600 | 8822400 | 0.19554 | 0.99272 | 1.9266 | 599 | NW | 517.9943 | 660.7162 | 782.8187 | 0 | NW | 0.19554 | 0.20404 | 0.20889 | 0
exterior 0.2
|  | realistic (std) | N | B3 | 721668.5003 | 2966400 | 5514000 | 0.13733 | 0.9918 | 1.6644 |  |  | 10th floor |  |  |  |  | 10th floor
|  |  | NE | C3 | 2017000 | 3449300 | 5834600 | 0.32349 | 0.80907 | 1.3288 | sensor count | orientation | EN 17037 low | realistic | EN 17037 high |  | orientation | EN 17037 low | realistic | EN 17037 high
|  |  | E | C2 | 2842300 | 3339500 | 5553800 | 0.28766 | 0.37243 | 0.69565 | 568 | N | 748.554 | 934.8338 | 1100.5349 | 0 | N | 0.91175 | 0.9918 | 1.0423 | 0
|  |  | SE | C1 | 6202100 | 11348000 | 16062000 | 0.56294 | 1.2234 | 1.77 | 599 | NE | 812.1042 | 1030.7591 | 1235.9068 | 0 | NE | 0.77097 | 0.80907 | 0.83582 | 0
|  |  | S | B1 | 2777400 | 12692000 | 18119000 | 0.20144 | 1.4362 | 2.0683 | 568 | E | 797.3063 | 1052.4129 | 1294.6616 | 0 | E | 0.34394 | 0.37243 | 0.397 | 0
|  |  | SW | A1 | 5089000 | 15221000 | 19011000 | 0.4878 | 1.7382 | 2.3317 | 599 | SE | 2768.374 | 3391.1386 | 3950.2521 | 0 | SE | 1.1497 | 1.2234 | 1.2657 | 0
|  |  | W | A2 | 4389800 | 8163100 | 12147000 | 0.42193 | 1.0243 | 1.9555 | 568 | S | 3216.9577 | 3999.7676 | 4683.3081 | 0 | S | 1.3021 | 1.4362 | 1.5209 | 0
|  |  | NW | A3 | 2211000 | 5698100 | 10929000 | 0.20404 | 1.0483 | 2.0873 | 599 | SW | 3744.9549 | 4548.5125 | 5284.5342 | 0 | SW | 1.6143 | 1.7382 | 1.823 | 0
[11 empty] | 568 | W | 2043.1842 | 2572.5262 | 3054.4396 | 0 | W | 0.92951 | 1.0243 | 1.1 | 0
| ceiling 0.9 | EN 17037 higher bound | N | B3 | 891136.1348 | 3492200 | 6656700 | 0.1425 | 1.0423 | 1.7808 | 599 | NW | 1393.0324 | 1702.7711 | 1982.4175 | 0 | NW | 0.99272 | 1.0483 | 1.0827 | 0
| wall 0.8 |  | NE | C3 | 2458100 | 4135800 | 7014100 | 0.33603 | 0.83582 | 1.3834
| floor 0.4 |  | E | C2 | 3486400 | 4108200 | 6747900 | 0.31234 | 0.397 | 0.74547 |  |  | 23th floor |  |  |  |  | 23th floor
| exterior 0.4 |  | SE | C1 | 7352700 | 13219000 | 18826000 | 0.58715 | 1.2657 | 1.8918 | sensor count | orientation | EN 17037 low | realistic | EN 17037 high |  | orientation | EN 17037 low | realistic | EN 17037 high
|  |  | S | B1 | 3417000 | 14861000 | 21438000 | 0.21715 | 1.5209 | 2.2512 | 568 | N | 1336.4493 | 1737.6866 | 2097.7981 | 0 | N | 1.4812 | 1.6644 | 1.7808 | 0
|  |  | SW | A1 | 5898500 | 17684000 | 22261000 | 0.5018 | 1.823 | 2.4937 | 599 | NE | 1365.3905 | 1743.5616 | 2096.0332 | 0 | NE | 1.2418 | 1.3288 | 1.3834 | 0
|  |  | W | A2 | 5115800 | 9692300 | 14415000 | 0.4385 | 1.1 | 2.1008 | 568 | E | 1342.8467 | 1750.2292 | 2126.5389 | 0 | E | 0.63016 | 0.69565 | 0.74547 | 0
|  |  | NW | A3 | 2619600 | 6633900 | 12876000 | 0.20889 | 1.0827 | 2.1929 | 599 | SE | 3892.5776 | 4799.8297 | 5625.7997 | 0 | SE | 1.6194 | 1.77 | 1.8918 | 0
[11 empty] | 568 | S | 4545.9067 | 5710.037 | 6755.9894 | 0 | S | 1.8079 | 2.0683 | 2.2512 | 0
|  |  | N | B3 | [6 empty] | 599 | SW | 4627.404 | 5681.0835 | 6652.2855 | 0 | SW | 2.1268 | 2.3317 | 2.4937 | 0
|  |  | NE | C3 | [6 empty] | 568 | W | 3046.8447 | 3828.0158 | 4542.7553 | 0 | W | 1.7273 | 1.9555 | 2.1008 | 0
|  |  | E | C2 | [6 empty] | 599 | NW | 2636.41 | 3265.9282 | 3847.7529 | 0 | NW | 1.9266 | 2.0873 | 2.1929 | 0
|  |  | SE | C1
|  |  | S | B1 | [8 empty] | ground floor |  |  |  |  | ground floor
|  |  | SW | A1 | [6 empty] | sensor count | orientation | EN 17037 low | realistic | EN 17037 high |  | orientation | EN 17037 low | realistic | EN 17037 high
|  |  | W | A2 | [6 empty] | 568 | N | 74.03% | 100% | 123.5% | 0% | N | 90.41% | 100% | 103.8% | 0%
|  |  | NW | A3 | [6 empty] | 599 | NE | 75.93% | 100% | 121.9% | 0% | NE | 95.38% | 100% | 103.9% | 0%
[11 empty] | 568 | E | 74.85% | 100% | 122.7% | 0% | E | 92.45% | 100% | 108.6% | 0%
[11 empty] | 599 | SE | 79.07% | 100% | 118.6% | 0% | SE | 95.48% | 100% | 104.3% | 0%
[11 empty] | 568 | S | 73.48% | 100% | 123% | 0% | S | 92.45% | 100% | 107.8% | 0%
[11 empty] | 599 | SW | 80.55% | 100% | 115.9% | 0% | SW | 96.2% | 100% | 102.9% | 0%
[11 empty] | 568 | W | 79.65% | 100% | 116.5% | 0% | W | 92.64% | 100% | 103.9% | 0%
[11 empty] | 599 | NW | 78.4% | 100% | 118.5% | 0% | NW | 95.83% | 100% | 102.4% | 0%
[13 empty] | 10th floor |  |  |  |  | 10th floor
[11 empty] | sensor count | orientation | EN 17037 low | realistic | EN 17037 high |  | orientation | EN 17037 low | realistic | EN 17037 high |  | dynamic | static
[11 empty] | 568 | N | 80.07% | 100% | 117.7% | 0% | N | 91.93% | 100% | 105.1% | 0% | gf | gf
[11 empty] | 599 | NE | 78.79% | 100% | 119.9% | 0% | NE | 95.29% | 100% | 103.3% | 0% | 10 | 10
[11 empty] | 568 | E | 75.76% | 100% | 123% | 0% | E | 92.35% | 100% | 106.6% | 0% | 23 | 23
[11 empty] | 599 | SE | 81.64% | 100% | 116.5% | 0% | SE | 93.97% | 100% | 103.5% | 0%
[11 empty] | 568 | S | 80.43% | 100% | 117.1% | 0% | S | 90.66% | 100% | 105.9% | 0%
[11 empty] | 599 | SW | 82.33% | 100% | 116.2% | 0% | SW | 92.87% | 100% | 104.9% | 0%
[11 empty] | 568 | W | 79.42% | 100% | 118.7% | 0% | W | 90.74% | 100% | 107.4% | 0%
[11 empty] | 599 | NW | 81.81% | 100% | 116.4% | 0% | NW | 94.7% | 100% | 103.3% | 0%
[13 empty] | 23th floor |  |  |  |  | 23th floor
[11 empty] | sensor count | orientation | EN 17037 low | realistic | EN 17037 high |  | orientation | EN 17037 low | realistic | EN 17037 high
[11 empty] | 568 | N | 76.91% | 100% | 120.7% | 0% | N | 89% | 100% | 107% | 0%
[11 empty] | 599 | NE | 78.31% | 100% | 120.2% | 0% | NE | 93.45% | 100% | 104.1% | 0%
[11 empty] | 568 | E | 76.72% | 100% | 121.5% | 0% | E | 90.59% | 100% | 107.2% | 0%
[11 empty] | 599 | SE | 81.1% | 100% | 117.2% | 0% | SE | 91.49% | 100% | 106.9% | 0%
[11 empty] | 568 | S | 79.61% | 100% | 118.3% | 0% | S | 87.41% | 100% | 108.8% | 0%
[11 empty] | 599 | SW | 81.45% | 100% | 117.1% | 0% | SW | 91.21% | 100% | 106.9% | 0%
[11 empty] | 568 | W | 79.59% | 100% | 118.7% | 0% | W | 88.33% | 100% | 107.4% | 0%
[11 empty] | 599 | NW | 80.72% | 100% | 117.8% | 0% | NW | 92.3% | 100% | 105.1% | 0%