## Permeability and retention
Comments:
biodegradability tests MgSO4 retention, MWCO and pure water permeability before and after treatment with Laccase enzyme ABTS mediator or acetate buffer pH4.6 as reference. MWCO data was determined from PEG retention data measured by the GPC (see GPC data).
Bilayers (#) | State | Identifier | Type of treatement | lengte [cm] | mass beaker [g] | mass beaker + permeate [g] | Mass permeate [g] | minutes | seconds | time [s] | Feed pressure [bar] |  |  | Inner diameter fibre [mm] | Permeability | MgSO4-Retention |  |  | MWCO (g/mol)
[11 empty] | before | avg. | after |  | [L/m2hbar] | feed conductivity | permeate conductivity | %
9.5 | before | 1 | Buffer | 17.7 | 54.67 | 61.69 | 7.02 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 17.99 | 887.5 | 706 | 20.4507 | 1219.7
9.5 | before | 2 | Buffer | 18.1 | 56.31 | 61.94 | 5.63 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 14.109 | 887.5 | 689 | 22.3662 | 1244.3
9.5 | before | 3 | Buffer | 18.1 | 57.84 | 66.19 | 8.35 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 20.9255 | 887.5 | 693 | 21.9155 | 1106.2
9.5 | before | 4 | Buffer | 17.9 | 58.52 | 65.79 | 7.27 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 18.4225 | 887.5 | 710 | 20 | 1202.2
9.5 | before | 5 | Enzyme | 17.7 | 60.5 | 67.88 | 7.38 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 18.9126 | 887.5 | 695 | 21.6901 | 1130
9.5 | before | 6 | Enzyme | 17.1 | 58.44 | 65 | 6.56 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 17.401 | 887.5 | 671 | 24.3944 | 1043.3
9.5 | before | 7 | Enzyme | 17.8 | 56.88 | 64.58 | 7.7 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 19.6218 | 887.5 | 696 | 21.5775 | 1168.7
9.5 | before | 8 | Enzyme | 17.7 | 58.25 | 66.32 | 8.07 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 20.6808 | 887.5 | 709 | 20.1127 | 1185.6
10 | before | 9 | Buffer | 18.1 | 58.54 | 66.13 | 7.59 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 19.0209 | 887.5 | 709 | 20.1127 | 1453.4
10 | before | 10 | Buffer | 18 | 58.26 | 67.99 | 9.73 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 24.5193 | 887.5 | 713 | 19.662 | 1235.4
10 | before | 11 | Buffer | 18.4 | 57.97 | 64.87 | 6.9 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 17.0098 | 887.5 | 672 | 24.2817 | 1245.6
10 | before | 12 | Buffer | 17.9 | 58.91 | 65.88 | 6.97 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 17.6623 | 887.5 | 711 | 19.8873 | 1455.3
10 | before | 13 | Enzyme | 17.8 | 60.39 | 68.39 | 8 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 20.3863 | 887.5 | 806 | 9.1831 | 2330
10 | before | 14 | Enzyme | 18.3 | 57.03 | 66.44 | 9.41 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 23.3242 | 887.5 | 722 | 18.6479 | 1340.5
10 | before | 15 | Enzyme | 18.3 | 58.63 | 65.15 | 6.52 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 16.1609 | 887.5 | 689 | 22.3662 | 1282.7
10 | before | 16 | Enzyme | 18.1 | 59.14 | 67.66 | 8.52 | 30 | 0 | 1800 | 2.19 | 2.005 | 2.02 | 0.7 | 21.3515 | 887.5 | 706 | 20.4507 | 1332.7
9.5 | after | 1 | Buffer | 17.7 | 54.67 | 62.41 | 7.74 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 19.3643 | 885 | 738 | 16.6102 | 1969.9
9.5 | after | 2 | Buffer | 18.1 | 56.02 | 62.26 | 6.24 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 15.2665 | 885 | 739 | 16.4972 | 2036.5
9.5 | after | 3 | Buffer | 18.1 | 57.84 | 69.79 | 11.95 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 29.2364 | 885 | 755 | 14.6893 | 2112.8
9.5 | after | 4 | Buffer | 17.9 | 58.52 | 67.42 | 8.9 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 22.0177 | 885 | 750 | 15.2542 | 2084.8
9.5 | after | 5 | Enzyme | 17.7 | 60.5 | 76.32 | 15.82 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 39.5793 | 885 | 773 | 12.6554 | 7784.5
9.5 | after | 6 | Enzyme | 17.1 | 58.44 | 74.62 | 16.18 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 41.9003 | 885 | 777 | 12.2034 | 6098
9.5 | after | 7 | Enzyme | 17.8 | 56.88 | 72.45 | 15.57 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 38.735 | 885 | 775 | 12.4294 | 7156.5
9.5 | after | 8 | Enzyme | 17.7 | 58.25 | 75.33 | 17.08 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 42.7316 | 885 | 783 | 11.5254 | 7344.8
10 | after | 9 | Buffer | 18.1 | 58.54 | 65.86 | 7.32 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 17.9088 | 885 | 733 | 17.1751 | 2349.8
10 | after | 10 | Buffer | 18 | 58.26 | 71.82 | 13.56 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 33.3597 | 885 | 763 | 13.7853 | 2568.5
10 | after | 11 | Buffer | 18.4 | 57.97 | 65.26 | 7.29 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 17.5446 | 885 | 724 | 18.1921 | 2024.1
10 | after | 12 | Buffer | 17.9 | 58.9 | 65.84 | 6.94 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 17.1688 | 885 | 736 | 16.8362 | 2437.9
10 | after | 13 | Enzyme | 17.8 | 60.39 | 70.56 | 10.17 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 25.3009 | 885 | 895 | defect | Defect
10 | after | 14 | Enzyme | 18.3 | 57.01 | 76.83 | 19.82 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 47.9609 | 885 | 790 | 10.7345 | 9395.5
10 | after | 15 | Enzyme | 18.3 | 58.63 | 71.03 | 12.4 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 30.0058 | 885 | 782 | 11.6384 | 8409.4
10 | after | 16 | Enzyme | 18.1 | 59.14 | 75.87 | 16.73 | 31 | 0 | 1860 | 2.17 | 1.9875 | 2.005 | 0.7 | 40.931 | 885 | 779 | 11.9774 | 8492.2
0

## Permeability
[5 empty] | Change in Permeability (b-a) | Sample | Average change in Permeabiltity | Std
bilayers | permeability | standard deviation | standard error |  | 1.3743 | 9.5Buff | 3.6095 | 3.3222
9.5bBuff | 17.8618 | 2.8166 | 1.4083 |  | 1.1575 | 9.5Lac | 21.5825 | 2.2849
9.5aBuff | 21.4712 | 5.8746 | 2.9373 |  | 8.3109 | 10Buff | 1.9424 | 4.6485
10.0bBuff | 19.5531 | 3.4152 | 1.7076 |  | 3.5952 | 10Lac | 15.7439 | 8.4592
10.0aBuff | 21.4955 | 7.9152 | 3.9576 |  | 20.6667
9.5bLac | 19.1541 | 1.3761 | 0.68806 |  | 24.4992
9.5aLac | 40.7365 | 1.8868 | 0.9434 |  | 19.1132
10.0bLac | 20.3057 | 3.0217 | 1.5108 |  | 22.0508
10.0aLac | 36.0496 | 10.2919 | 5.1459 |  | -1.1121
8.8404
0.53484
-0.49347
| perm |  | std |  | 4.9146
10.0 | Buffer | Laccase | Buffer | Laccase | 24.6367
Before | 19.5531 | 20.3057 | 3.4152 | 3.0217 | 13.8449
After | 21.4955 | 36.0496 | 7.9152 | 10.2919 | 19.5794
| perm |  | std
9.5 | Buffer | Laccase | Buffer | Laccase
Before | 17.8618 | 19.1541 | 2.8166 | 1.3761
After | 21.4712 | 40.7365 | 5.8746 | 1.8868

## Retention summary
Sample | MgSO4 retention | std |  |  | Change in retention % (b-a) | Sample | Average change in retention | Std
9.5bBuff | 21.1831 | 1.1361 |  |  | -3.8405 | 9.5Buff | -5.4204 | 1.4621
9.5bLac | 21.9437 | 1.7848 |  |  | -5.869 | 9.5Lac | -9.7403 | 1.6516
10.0bBuff | 20.9859 | 2.2049 |  |  | -7.2262 | 10Buff | -4.4887 | 1.7284
10.0bLac | 17.662 | 5.8529 |  |  | -4.7458 | 10Lac | -9.0744 | 1.2186
9.5aBuff | 15.7627 | 0.94312 |  |  | -9.0348
9.5aLac | 12.2034 | 0.48819 |  |  | -12.191
10.0aBuff | 16.4972 | 1.8975 |  |  | -9.1481
10.0aLac | 8.5876 | 5.749 |  |  | -8.5873
-2.9375
-5.8767
-6.0896
| perm |  | std |  | -3.0512
9.5 | Buffer | Laccase | Buffer | Laccase | -9.1831
Before | 21.1831 | 21.9437 | 1.1361 | 1.7848 | -7.9134
After | 15.7627 | 12.2034 | 0.94312 | 0.48819 | -10.7278
-8.4733
| perm |  | std
10.0 | Buffer | Laccase | Buffer | Laccase
Before | 20.9859 | 17.662 | 2.2049 | 5.8529
After | 16.4972 | 8.5876 | 1.8975 | 5.749